## 设备
id | zone | group | category | name | visibility | type | config | ignore | comments
gateway |  |  |  | 网关 |  | gateway | serial=26448
gatewayng |  |  |  | 网关NG |  | gatewayng | homekit_auto_remove=0
zbgw_1C34F1FFFE094EBD |  |  |  | 弗雷克智能开关面板 | show | panel | brand=forick, device=switch_panel, model=K7X-TY, gateway=DCS_D33338, switch1=0/0/0+0/0/0:1.001:off/0+on/1, switch2=0/0/0+0/0/0:1.001:off/0+on/1, switch3=0/0/0+0/0/0:1.001:off/0+on/1, switch4=0/0/0+0/0/0:1.001:off/0+on/1, action1=0/0/0+0/0/0:5.005:single/0, action2=0/0/0+0/0/0:5.005:single/0, action3=0/0/0+0/0/0:5.005:single/0, action4=0/0/0+0/0/0:5.005:single/0 |  | no

## 场景
id | name | zone | visibility | knxconfig | type | device | channel | value | delay

## 联动
device0 | channel0 | value0 | direction | device1 | channel1 | value1 | when | delay | ignore | comment
zbgw_xiaoyan_awareness_switch | occupancy | left | >> | zbgw_xiaoyan_awareness_switch | api_cancel_timer |  |  |  | yes
zbgw_xiaoyan_awareness_switch | occupancy | right | >> | zbgw_xiaoyan_awareness_switch | api_cancel_timer |  |  |  | yes
zbgw_xiaoyan_awareness_switch | occupancy | left | >> | zbgw_xiaoyan_awareness_switch | occupancy | none |  | 120 | yes
zbgw_xiaoyan_awareness_switch | occupancy | right | >> | zbgw_xiaoyan_awareness_switch | occupancy | none |  | 120 | yes
zbgw_xiaoyan_awareness_switch | occupancy | left | >> | gateway | push | 会客厅有人经过 |  |  | yes
zbgw_xiaoyan_awareness_switch | occupancy | right | >> | gateway | push | 影音室有人出入 |  |  | yes
zbgw_xiaoyan_awareness_switch | action | single | >> | meeting_sd | switch | toggle |  |  | yes
zbgw_xiaoyan_awareness_switch | action | double | >> | movie_east | switch | on | movie_count:value:0¦¦movie_count:value:null |  | yes
zbgw_xiaoyan_awareness_switch | action | double | >> | movie_east | switch | off | movie_count:value:>=1 |  | yes
zbgw_xiaoyan_awareness_switch | action | triple | >> | office_sd | switch | toggle |  |  | yes
zbgw_xiaoyan_awareness_switch | action | quadruple | >> | office_sd | switch | off |  |  | yes
zbgw_xiaoyan_awareness_switch | action | quadruple | >> | meeting_sd | switch | off |  |  | yes
zbgw_xiaoyan_awareness_switch | action | quadruple | >> | movie_east | switch | off |  |  | yes
zbgw_xiaoyan_awareness_switch | action | quadruple | >> | meeting_ac | switch | off |  |  | yes
zbgw_xiaoyan_awareness_switch | action | quadruple | >> | office_ac | switch | off |  |  | yes
zbgw_xiaoyan_awareness_switch | action | quadruple | >> | movie_ac | switch | off |  |  | yes
movie_east | switch |  | >> | movie_south | switch
movie_east | switch |  | >> | movie_north | switch
movie_east | switch |  | >> | movie_west | switch
office_sd | switch |  | >> | office_dd | switch
zbgw_xiaoyan_awareness_switch | action | double | >> | movie_east | api_cancel_timer |  |  |  | yes
zbgw_xiaoyan_awareness_switch | action | double | >> | manual_flag | switch | on | movie_east:switch:null ¦¦ movie_east:switch:off |  | yes
zbgw_xiaoyan_awareness_switch | action | double | >> | movie_east | switch | on | movie_east:switch:null ¦¦ movie_east:switch:off |  | yes
zbgw_xiaoyan_awareness_switch | action | double | >> | manual_flag | switch | off | movie_east:switch:on |  | yes
zbgw_xiaoyan_awareness_switch | action | double | >> | movie_east | switch | off | movie_east:switch:on |  | yes
zbgw_xiaoyan_awareness_switch | occupancy | right | >> | movie_east | api_cancel_timer |  | manual_flag:switch:null ¦¦ manual_flag:switch:off |  | yes | 按键时会有误报，并且会比双击报文先到达主机
zbgw_xiaoyan_awareness_switch | occupancy | right | >> | movie_east | switch | on | manual_flag:switch:null ¦¦ manual_flag:switch:off |  | yes
zbgw_xiaoyan_awareness_switch | occupancy | right | >> | movie_east | switch | off | manual_flag:switch:null ¦¦ manual_flag:switch:off | 120 | yes
zbgw_aqara_human_sensor | occupancy | on | >> | office_sd | switch | on | zbgw_aqara_human_sensor:illuminance:null ¦¦ zbgw_aqara_human_sensor:illuminance:<80 |  | yes
zbgw_aqara_human_sensor | occupancy | off | >> | office_sd | switch | off |  |  | yes
影音室门口的小米无线开关
zbgw_00158D0006C8D601 | action | single | >> | meeting_dd | switch | toggle |  |  |  | 2023.3.27修改
zbgw_00158D0006C8D601 | action | double | >> | movie_east | switch | toggle
离开场景
zbgw_00158D0006C8D601 | action | long | >> | office_sd | switch | off
zbgw_00158D0006C8D601 | action | long | >> | meeting_dd | switch | off
zbgw_00158D0006C8D601 | action | long | >> | meeting_sd | switch | off
zbgw_00158D0006C8D601 | action | long | >> | movie_east | switch | off
zbgw_00158D0006C8D601 | action | long | >> | meeting_ac | switch | off
zbgw_00158D0006C8D601 | action | long | >> | office_ac | switch | off
zbgw_00158D0006C8D601 | action | long | >> | movie_ac | switch | off
zbgw_00158D0006C8D601 | action | long | >> | cangku01 | switch | off
zbgw_aqara_wireless_switch_d1_endpoint1 | action | single | >> | office_sd | switch | toggle |  |  | yes
zbgw_aqara_wireless_switch_d1_endpoint2 | action | single | >> | meeting_sd | switch | toggle |  |  | yes
zbgw_aqara_wireless_switch_d1_endpoint3 | action | single | >> | office_door | open |  |  |  | yes
zbgw_aqara_wireless_switch_d1_endpoint1 | action | double | >> | curtain1 | open |  |  |  | yes
zbgw_aqara_wireless_switch_d1_endpoint2 | action | double | >> | curtain1 | close |  |  |  | yes
zbgw_aqara_wireless_switch_d1_endpoint3 | action | double | >> | curtain1 | stop |  |  |  | yes
curtain1 | open |  | >> | curtain2 | open
curtain1 | close |  | >> | curtain2 | close
curtain1 | stop |  | >> | curtain2 | stop
curtain1 | position |  | >> | curtain2 | position
knxcurtain1 | open |  | >> | curtain1 | open |  |  |  | yes
knxcurtain1 | close |  | >> | curtain1 | close |  |  |  | yes
knxcurtain1 | stop |  | >> | curtain1 | stop |  |  |  | yes
y02 | switch |  | >> | y01 | switch
x02 | switch |  | >> | x01 | switch
rukou01 | switch |  | >> | rukou02 | switch
小米门窗传感器
zbgw_00158D0000EE28CE | contact |  | >> | office_door | contact |  |  |  | yes
四键遥控器-新
zbgw_9DDC | action1 | single | >> | office_sd | switch | toggle
zbgw_9DDC | action1 | double | >> | office_door | open
zbgw_9DDC | action2 | single | >> | office_sd | switch | toggle
zbgw_9DDC | action2 | double | >> | office_door | open
zbgw_9DDC | action3 | single | >> | curtain1 | position | 100
zbgw_9DDC | action4 | single | >> | curtain1 | position | 50
zbgw_9DDC | action3 | double | >> | curtain1 | open
zbgw_9DDC | action4 | double | >> | curtain1 | close
zbgw_9DDC | action3 | longend | >> | curtain1 | stop
zbgw_9DDC | action4 | longend | >> | curtain1 | stop
zbgw_9DDC | action1 | longend | >> | movie_east | switch | toggle
zbgw_9DDC | action2 | longend | >> | gateway | push | 测试推送

## 设备-坏
zone | group | name | type | config | switch | status | visibility | ignore
办公 |  | 射灯西（储物柜）-坏 | light | switch=0/0/5+0/1/5 | 0/0/5 | 0/1/5 |  | yes
影音室 |  | 壁灯-坏 | light | switch=0/0/14+0/1/14 | 0/0/14 | 0/1/14 |  | yes

## 原20135
id | zone | room | name | type | config | switch | status | visibility | ignore
11 | 储物室 |  | 射灯 | light | switch=0/0/11+0/1/11 | 0/0/11 | 0/1/11
4 | 入口 |  | 射灯 | light | switch=0/0/4+0/1/4 | 0/0/4 | 0/1/4
8 | 入口 |  | 背景墙灯 | light | switch=0/0/8+0/1/8 | 0/0/8 | 0/1/8
23 | 入口 |  | 插座 | outlet | switch=0/0/23+0/1/23 | 0/0/23 | 0/1/23
34 | 入口 |  | 奖杯插座 | outlet | switch=0/0/34+0/1/34 | 0/0/34 | 0/1/34
35 | 入口 |  | 摄像头 | outlet | switch=0/0/35+0/1/35 | 0/0/35 | 0/1/35
39 | 入口 |  | 插座 | outlet | switch=0/0/39+0/1/39 | 0/0/39 | 0/1/39
1 | 客厅 |  | 射灯西北 | light | switch=0/0/1+0/1/1 | 0/0/1 | 0/1/1
3 | 客厅 |  | 射灯 | light | switch=0/0/3+0/1/3 | 0/0/3 | 0/1/3
9 | 客厅 |  | 会客吊灯开关 | light | switch=0/0/9+0/1/9 | 0/0/9 | 0/1/9
10 | 客厅 |  | 工位吊灯开关 | light | switch=0/0/10+0/1/10 | 0/0/10 | 0/1/10
21 | 客厅 |  | 电视插座 | outlet | switch=0/0/21+0/1/21 | 0/0/21 | 0/1/21
24 | 客厅 |  | 插座西北 | outlet | switch=0/0/24+0/1/24 | 0/0/24 | 0/1/24
25 | 客厅 |  | 插座 | outlet | switch=0/0/25+0/1/25 | 0/0/25 | 0/1/25
32 | 客厅 |  | 门 | door | switch=0/0/32+0/1/32 | 0/0/32 | 0/1/32
13 | 影音室 |  | 射灯西 | light | switch=0/0/13+0/1/13 | 0/0/13 | 0/1/13
16 | 影音室 |  | 射灯北 | light | switch=0/0/16+0/1/16 | 0/0/16 | 0/1/16
17 | 影音室 |  | 射灯东 | light | switch=0/0/17+0/1/17 | 0/0/17 | 0/1/17
19 | 影音室 |  | 星空顶 | light | switch=0/0/19+0/1/19 | 0/0/19 | 0/1/19
20 | 影音室 |  | 射灯南 | light | switch=0/0/20+0/1/20 | 0/0/20 | 0/1/20
26 | 影音室 |  | 插座东南 | outlet | switch=0/0/26+0/1/26 | 0/0/26 | 0/1/26
27 | 影音室 |  | 投影机 | outlet | switch=0/0/27+0/1/27 | 0/0/27 | 0/1/27
29 | 影音室 |  | 地插 | outlet | switch=0/0/29+0/1/29 | 0/0/29 | 0/1/29
30 | 影音室 |  | 镭射灯 | light | switch=0/0/30+0/1/30 | 0/0/30 | 0/1/30
33 | 影音室 |  | 功放电源b | outlet | switch=0/0/33+0/1/33 | 0/0/33 | 0/1/33
37 | 影音室 |  | 功放电源a | outlet | switch=0/0/37+0/1/37 | 0/0/37 | 0/1/37
38 | 影音室 |  | 插座东北 | outlet | switch=0/0/38+0/1/38 | 0/0/38 | 0/1/38
40 | 影音室 |  | 插座西北 | outlet | switch=0/0/40+0/1/40 | 0/0/40 | 0/1/40
2 | 杨总办公室 |  | 吊灯 | light | switch=0/0/2+0/1/2 | 0/0/2 | 0/1/2
12 | 杨总办公室 |  | 射灯 | light | switch=0/0/12+0/1/12 | 0/0/12 | 0/1/12
15 | 杨总办公室 |  | 灯带 | light | switch=0/0/15+0/1/15 | 0/0/15 | 0/1/15
28 | 杨总办公室 |  | 咖啡机 | outlet | switch=0/0/28+0/1/28 | 0/0/28 | 0/1/28
36 | 杨总办公室 |  | 插座 | outlet | switch=0/0/36+0/1/36 | 0/0/36 | 0/1/36
6 | 谢总办公室 |  | 灯 | light | switch=0/0/6+0/1/6 | 0/0/6 | 0/1/6
7 | 谢总办公室 |  | 射灯 | light | switch=0/0/7+0/1/7 | 0/0/7 | 0/1/7
18 | 过道 |  | 射灯 | light | switch=0/0/18+0/1/18 | 0/0/18 | 0/1/18
31 | 门禁 |  | 电源 | outlet | switch=0/0/31+0/1/31 | 0/0/31 | 0/1/31
gateway |  |  | 公司网关 | gateway | serial=00000
22 |  |  |  |  | switch=0/0/22+0/1/22 | 0/0/22 | 0/1/22

## 原ZbGW_V10_D33FE8
zbgw_xiaoyan_awareness_switch | 小燕 | 感应开关 |  | sensor | occupancy=0/0/0:5.005:left/1+right/2+none/3, action=0/0/0:5.005:single/1+double/2+triple/3+quadruple/4, temperature=0/0/0:9.001:0.1:°C, battery=0/0/0:5.005:1::1:0:0:255, battery_low=0/0/0:1.001, linkquality=0/0/0:5.005, update_time=0/0/0, online=0/0/0, brand=xiaoyan, device=awareness_switch, model=TERNCY-PP01, gateway=ZbGW_V10_D33FE8, | yes
zbgw_aqara_human_sensor | 绿米 | 人体传感器 | show | sensor | brand=aqara, device=occupancy, model=RTCGQ11LM, gateway=ZbGW_V10_D33FE8, occupancy=0/0/0+0/0/0:1.001:off/0+on/1, illuminance=0/0/0+0/0/0:9.001:1:Lux:1:0:0:1000000
zbgw_aqara_wireless_switch | 绿米 | 无线开关 | show | button | brand=aqara, device=switch_panel, model=WXKG12LM, gateway=ZbGW_V10_D33FE8, action=0/0/0+0/0/0:5.005:single/0+double/1+long/2+longend/3
zbgw_aqara_wireless_switch_d1_endpoint1 | 绿米 | 双键无线开关K1 | show | button | brand=aqara, device=switch_panel, model=WXKG07LM, gateway=ZbGW_V10_D33FE8, action=0/0/0+0/0/0:5.005:single/0+double/1+long/2
zbgw_aqara_wireless_switch_d1_endpoint2 | 绿米 | 双键无线开关K2 | show | button | brand=aqara, device=switch_panel, model=WXKG07LM, gateway=ZbGW_V10_D33FE8, action=0/0/0+0/0/0:5.005:single/0+double/1+long/2
zbgw_aqara_wireless_switch_d1_endpoint3 | 绿米 | 双键无线开关KB | show | button | brand=aqara, device=switch_panel, model=WXKG07LM, gateway=ZbGW_V10_D33FE8, action=0/0/0+0/0/0:5.005:single/0+double/1+long/2
zbgw_A4C1381CD7A68424 | D-Controls | 场景遥控器4键(黑色) | show | button | brand=dcs, device=remote_4_key, model=DCS-ZG-4PBREMOTE, gateway=ZbGW_V10_D33FE8, action1=0/0/0+0/0/0:5.005:single/0+double/1+longend/2, action2=0/0/0+0/0/0:5.005:single/0+double/1+longend/2, action3=0/0/0+0/0/0:5.005:single/0+double/1+longend/2, action4=0/0/0+0/0/0:5.005:single/0+double/1+longend/2
zbgw_70B3D52B60021AAB_endpoint1 |  | 4路继电器模块_E1 | show | switch | brand=dcs, device=switch_module, model=DCS-ZG-4RM, gateway=ZbGW_V10_D33FE8, switch=0/0/0+0/0/0:1.001:off/0+on/1
zbgw_70B3D52B60021AAB_endpoint5 |  | 4路继电器模块计量 | show | sensor | brand=dcs, device=switch_module, model=DCS-ZG-4RM, gateway=ZbGW_V10_D33FE8, voltage=0/0/0+0/0/0:9.001:1:V:1:0::, current=0/0/0+0/0/0:9.001:1:mA:1:0::, activepower=0/0/0+0/0/0:9.001:1:W:1:0::, energytotal=0/0/0+0/0/0:9.001:0.01:kW·h:1:0::
zbgw_E498BBAF4427C8B2_endpoint1 |  | 2路继电器模块（带计量）_E1 | show | switch | brand=dcs, device=switch_module, model=DCS-ZG-2R, gateway=ZbGW_V10_D33FE8, switch=0/0/0+0/0/0:1.001:off/0+on/1 |  | no
zbgw_E498BBAF4427C8B2_endpoint2 |  | 2路继电器模块（带计量）_E2 | show | switch | brand=dcs, device=switch_module, model=DCS-ZG-2R, gateway=ZbGW_V10_D33FE8, switch=0/0/0+0/0/0:1.001:off/0+on/1 |  | no
zbgw_E498BBAF4427C8B2_endpoint3 |  | 2路继电器模块（带计量）_E3 | show | switch | brand=dcs, device=switch_module, model=DCS-ZG-2R, gateway=ZbGW_V10_D33FE8, switch=0/0/0+0/0/0:1.001:off/0+on/1 |  | no
zbgw_E498BBAF4427C8B2_endpoint4 |  | 2路继电器模块（带计量）_E4 | show | switch | brand=dcs, device=switch_module, model=DCS-ZG-2R, gateway=ZbGW_V10_D33FE8, switch=0/0/0+0/0/0:1.001:off/0+on/1 |  | no
zbgw_E498BBAF4427C8B2_endpoint5 |  | 2路继电器模块（带计量）_E5 | show | switch | brand=dcs, device=switch_module, model=DCS-ZG-2RC-M, gateway=ZbGW_V10_D33FE8, voltage=0/0/0+0/0/0:9.001:1:V:1:0::, current=0/0/0+0/0/0:9.001:1:mA:1:0::, activepower=0/0/0+0/0/0:9.001:1:W:1:0::, energytotal=0/0/0+0/0/0:9.001:0.01:kW·h:1:0:: |  | no